## Main
TEST CAMPAIGN

About nomenclature:

					Longitudinal calibration

## Temperature hysteresis
ID	Longitudinal deformation		Transversal deformation		Temperature (T)	Annealed (A)	Humidity (H)	Coating (J)
	Capstan Tester (C) [g]	Flexural Tester (F) [mm]	Biaxial, glued (BG)	Biaxial, embebed (BE)
C0.0-T30.0-JA	0				30	N/A	N/A	Acrilate	No load
C0.0-T100.0-JA	0				100	N/A	N/A	Acrilate
C0.0-T30.0-JA	0				30	N/A	N/A	Acrilate
C0.0-T120.0-JA	0				120	N/A	N/A	Acrilate
C0.0-T30.0-JA	0				30	N/A	N/A	Acrilate
C0.0-T150.0-JA	0				150	N/A	N/A	Acrilate
C0.0-T30.0-JA	0				30	N/A	N/A	Acrilate
C0.0-T180.0-JA	0				180	N/A	N/A	Acrilate
C0.0-T30.0-JA	0				30	N/A	N/A	Acrilate
C0.0-T200.0-JA	0				200	N/A	N/A	Acrilate

C100.0-T30.0-JA	100				30	N/A	N/A	Acrilate	Loaded
C100.0-T100.0-JA	100				100	N/A	N/A	Acrilate
C100.0-T30.0-JA	100				30	N/A	N/A	Acrilate
C100.0-T120.0-JA	100				120	N/A	N/A	Acrilate
C100.0-T30.0-JA	100				30	N/A	N/A	Acrilate
C100.0-T150.0-JA	100				150	N/A	N/A	Acrilate
C100.0-T30.0-JA	100				30	N/A	N/A	Acrilate
C100.0-T180.0-JA	100				180	N/A	N/A	Acrilate
C100.0-T30.0-JA	100				30	N/A	N/A	Acrilate
C100.0-T200.0-JA	100				200	N/A	N/A	Acrilate

## Temperature calibration
ID	Longitudinal deformation		Transversal deformation		Temperature (T)	Annealed (A)	Humidity (H)	Coating (J)
	Capstan Tester (C) [g]	Flexural Tester (F) [mm]	Biaxial, glued (BG)	Biaxial, embebed (BE)
	0				30	200	N/A	Acrilate	No load
	0				35	200	N/A	Acrilate
	0				40	200	N/A	Acrilate
	0				45	200	N/A	Acrilate
	0				50	200	N/A	Acrilate
	0				55	200	N/A	Acrilate
	0				60	200	N/A	Acrilate
	0				65	200	N/A	Acrilate
	0				70	200	N/A	Acrilate
	0				75	200	N/A	Acrilate
	0				80	200	N/A	Acrilate
	0				85	200	N/A	Acrilate
	0				90	200	N/A	Acrilate
	0				95	200	N/A	Acrilate
	0				100	200	N/A	Acrilate
	0				105	200	N/A	Acrilate
	0				110	200	N/A	Acrilate
	0				115	200	N/A	Acrilate
	0				120	200	N/A	Acrilate
	0				125	200	N/A	Acrilate
	0				130	200	N/A	Acrilate
	0				135	200	N/A	Acrilate
	0				140	200	N/A	Acrilate
	0				145	200	N/A	Acrilate
	0				150	200	N/A	Acrilate
	0				155	200	N/A	Acrilate
	0				160	200	N/A	Acrilate
	0				165	200	N/A	Acrilate
	0				170	200	N/A	Acrilate
	0				175	200	N/A	Acrilate
	0				180	200	N/A	Acrilate
	0				185	200	N/A	Acrilate
	0				190	200	N/A	Acrilate
	0				195	200	N/A	Acrilate
	0				200	200	N/A	Acrilate
	0				205	200	N/A	Acrilate
	0				210	200	N/A	Acrilate
	0				215	200	N/A	Acrilate

	180				30	200	N/A	Acrilate	Loaded
	180				35	200	N/A	Acrilate
	180				40	200	N/A	Acrilate
	180				45	200	N/A	Acrilate
	180				50	200	N/A	Acrilate
	180				55	200	N/A	Acrilate
	180				60	200	N/A	Acrilate
	180				65	200	N/A	Acrilate
	180				70	200	N/A	Acrilate
	180				75	200	N/A	Acrilate
	180				80	200	N/A	Acrilate
	180				85	200	N/A	Acrilate
	180				90	200	N/A	Acrilate
	180				95	200	N/A	Acrilate
	180				100	200	N/A	Acrilate
	180				105	200	N/A	Acrilate
	180				110	200	N/A	Acrilate
	180				115	200	N/A	Acrilate
	180				120	200	N/A	Acrilate
	180				125	200	N/A	Acrilate
	180				130	200	N/A	Acrilate
	180				135	200	N/A	Acrilate
	180				140	200	N/A	Acrilate
	180				145	200	N/A	Acrilate
	180				150	200	N/A	Acrilate
	180				155	200	N/A	Acrilate
	180				160	200	N/A	Acrilate
	180				165	200	N/A	Acrilate
	180				170	200	N/A	Acrilate
	180				175	200	N/A	Acrilate
	180				180	200	N/A	Acrilate
	180				185	200	N/A	Acrilate
	180				190	200	N/A	Acrilate
	180				195	200	N/A	Acrilate
	180				200	200	N/A	Acrilate
	180				205	200	N/A	Acrilate
	180				210	200	N/A	Acrilate
	180				215	200	N/A	Acrilate

## Longitudinal hysteresis
ID	Longitudinal deformation		Transversal deformation		Temperature (T)	Annealed (A)	Humidity (H)	Coating (J)
	Capstan Tester (C) [g]	Flexural Tester (F) [mm]	Biaxial, glued (BG)	Biaxial, embebed (BE)

## Longitudinal calibration
ID	Longitudinal deformation		Transversal deformation		Temperature (T)	Annealed (A)	Humidity (H)	Coating (J)
	Capstan Tester (C) [g]	Flexural Tester (F) [mm]	Biaxial, glued (BG)	Biaxial, embebed (BE)
	0				30	NO	N/A	Acrilate	T1
	10				30	NO	N/A	Acrilate
	20				30	NO	N/A	Acrilate
	30				30	NO	N/A	Acrilate
	40				30	NO	N/A	Acrilate
	50				30	NO	N/A	Acrilate
	60				30	NO	N/A	Acrilate
	70				30	NO	N/A	Acrilate
	80				30	NO	N/A	Acrilate
	90				30	NO	N/A	Acrilate
	100				30	NO	N/A	Acrilate
	110				30	NO	N/A	Acrilate
	120				30	NO	N/A	Acrilate
	130				30	NO	N/A	Acrilate
	140				30	NO	N/A	Acrilate
	150				30	NO	N/A	Acrilate
	160				30	NO	N/A	Acrilate
	170				30	NO	N/A	Acrilate
	180				30	NO	N/A	Acrilate
	190				30	NO	N/A	Acrilate
	200				30	NO	N/A	Acrilate

	0				100	NO	N/A	Acrilate	T2
	10				100	NO	N/A	Acrilate
	20				100	NO	N/A	Acrilate
	30				100	NO	N/A	Acrilate
	40				100	NO	N/A	Acrilate
	50				100	NO	N/A	Acrilate
	60				100	NO	N/A	Acrilate
	70				100	NO	N/A	Acrilate
	80				100	NO	N/A	Acrilate
	90				100	NO	N/A	Acrilate
	100				100	NO	N/A	Acrilate
	110				100	NO	N/A	Acrilate
	120				100	NO	N/A	Acrilate
	130				100	NO	N/A	Acrilate
	140				100	NO	N/A	Acrilate
	150				100	NO	N/A	Acrilate
	160				100	NO	N/A	Acrilate
	170				100	NO	N/A	Acrilate
	180				100	NO	N/A	Acrilate
	190				100	NO	N/A	Acrilate
	200				100	NO	N/A	Acrilate

## Transversal hysteresis
ID	Longitudinal deformation		Transversal deformation		Temperature (T)	Annealed (A)	Humidity (H)	Coating (J)
	Capstan Tester (C) [g]	Flexural Tester (F) [mm]	Biaxial, glued (BG)	Biaxial, embebed (BE)

## Transversal calibration
ID	Longitudinal deformation		Transversal deformation		Temperature (T)	Annealed (A)	Humidity (H)	Coating (J)
	Capstan Tester (C) [g]	Flexural Tester (F) [mm]	Biaxial, glued (BG)	Biaxial, embebed (BE)